## PMO 18N Civil Works
Privatization and Management Office
PROJECT TITLE | : | LT300 Unit 18N Condominium Unit Renovation
PROJECT LOCATION | : | Unit 18N, Legaspi Tower 300, 2600 Ocampo St., Malate, Manila, 1004 Metro Manila
SUBJECT | : | Civil Works Bid Form
CONTRACTOR | :
ITEM | DESCRIPTION |  | QTY. | UNIT | ESTIMATED DIRECT COST |  |  |  |  | MARK-UPS IN PERCENT |  | TOTAL MARK-UPS |  | VAT | TOTAL INDIRECT COST | TOTAL COST | UNIT COST
NO. |  |  |  |  | MATERIAL UNIT COST | LABOR UNIT COST | TOTAL MATERIAL COST | TOTAL LABOR COST | TOTAL LABOR AND MATERIAL COST | OCM | PROFIT | % | VALUE
I. | GENERAL REQUIREMENTS
1.1 | Mobilization |  | 1 | lot | [5 empty] | 0% | 0% | 0%
1.2 | Demobilization, hauling and final cleaning prior to turnover |  | 1 | lot | [5 empty] | 0% | 0% | 0%
1.3 | Delivery and Tools & Equipment |  | 1 | lot | [5 empty] | 15% | 10% | 25%
1.4 | Water & Power consumption during construction |  | 1 | lot | [5 empty] | 15% | 10% | 25%
1.5 | Regular cleaning of jobsite during renovation |  | 1 | lot | [5 empty] | 15% | 10% | 25%
1.6 | As-Built Plan |  | 1 | lot | [5 empty] | 15% | 10% | 25%
1.7 | Securing and payment of all necessary permits including building permit, clearances, insurances and bonds necessary for the project |  | 1 | lot | [5 empty] | 15% | 10% | 25%
1.8 | Personnel swab testing and other necessary medical tests and certification as required by the building management |  | 1 | lot | [5 empty] | 15% | 10% | 25%
1.9 | Building administration facilities and utilities |  | 1 | lot | [5 empty] | 15% | 10% | 25%
1.1 | Roughing-in works and repair works for neighboring units as required for the construction |  | 1 | lot | [5 empty] | 15% | 10% | 25%
1.11 | Others
SUBTOTAL COST:
II. | SITE CONSTRUCTION
2.1 | Demolition of existing concrete walls |  | 12 | sq.m. | [5 empty] | 15% | 10% | 25%
2.2 | Dismantling of existing wall and floor tiles at toilet and balcony |  | 50 | sq.m. | [5 empty] | 15% | 10% | 25%
2.3 | Dismantling of existing ductworks, doors and windows not subject for reuse |  | 1 | lot | [5 empty] | 15% | 10% | 25%
2.4 | Dismantling of existing kitchen & toilet and bath fixtures, counter tops, grease traps, utility lines and all other items not subject for reuse. |  | 1 | lot | [5 empty] | 15% | 10% | 25%
2.5 | Site clearing and disposal of dismantled and demolished debris |  | 1 | lot | [5 empty] | 15% | 10% | 25%
2.6 | Others
SUBTOTAL COST:
III. | MASONRY WORKS
3.1 | Construction of 100mm concrete hollow blocks complete with mortar and 10mm diameter reinforcing bars spaced every 600mm on center both ways. |  | 7.25 | sq.m. | [5 empty] | 15% | 10% | 25%
3.2 | 25mm thick cement plaster |  | 14.5 | sq.m. | [5 empty] | 15% | 10% | 25%
3.3 | 18mm thick salt and pepper granite counter top for kitchen counter and lavatory counter complete with fascia and splashboard. Contractor to apply necessary sealers and verify corner profile termination to designer. Submit sample for approval. |  | 1 | slabs | [5 empty] | 15% | 10% | 25%
3.4 | Others
SUBTOTAL COST:
IV. | THERMAL AND MOISTURE PROTECTION
4.1 | Supply, delivery and application of cementitious waterproofing as per manufacturer's standards at toilet & bath and balcony. Apply to flooring and walls up to 300mm from floor. |  | 22 | sq.m. | [5 empty] | 15% | 10% | 25%
4.2 | Others
SUBTOTAL COST:
V. | DOORS AND WINDOWS
5.1 | Existing entrance door to be retained and refurbished. All hardware subject for replacement with new equivalent quality (Heavy duty entrance double handle set, 4 sets stainless steel ball bearing butterfly hinges, single cylinder deadbolt, door viewer). Install new set stainless steel chain bolt, door seal with brush and door stopper. Contractor to present sample hardware and accessories for approval. Existing door panel and jamb subject for surface repair and repainting using quick drying enamel as per manufacturer's standards. Submit sample for approval. |  | 1 | set | [5 empty] | 15% | 10% | 25%
5.2 | Supply, delivery and installation of new set flush door 900mm x 2100mm with 50mm x 100mm solid kiln dried door jamb. Flush door shall be equipped with solid wood frame and 6mm thick marine plywood at both faces. Door panel and jamb shall be painted using quick drying enamel as per manufacturer's standards. Install stainless steel hardware (entrance lever type lockset, 4 sets stainless steel ball bearing butterfly hinges and door stopper). Submit sample for approval. |  | 2 | sets | [5 empty] | 15% | 10% | 25%
5.3 | Supply, delivery and installation of new set flush door 700mm x 2100mm with 50mm x 100mm solid kiln dried door jamb. Flush door shall be equipped with solid wood frame and 6mm thick marine plywood at both faces and 500mm (H) x 500mm (W) louvers with 50mm x 50mm wood frame and wood louvers. Door panel and jamb shall be painted using quick drying enamel as per manufacturer's standards. Install stainless steel hardware (privacy lever type lockset, 4 sets stainless steel ball bearing butterfly hinges and door stopper). Submit sample for approval. |  | 1 | set | [5 empty] | 15% | 10% | 25%
5.4 | Supply delivery and installation of new set flush door 600mm x 2100mm with 50mm x 100mm solid kiln dried door jamb. Flush door shall be equipped with solid wood frame and 6mm thick marine plywood at both faces and 500mm (H) x 400mm (W) louvers with 50mm x 50mm wood frame and wood louvers. Door panel and jamb shall be painted using quick drying enamel as per manufacturer's standards. Install stainless steel hardware (privacy lever type lockset, 4 sets stainless steel ball bearing butterfly hinges and door stopper). Submit sample for approval. |  | 2 | sets | [5 empty] | 15% | 10% | 25%
5.5 | Supply, delivery and installation of combination of 2 sets 875mm x 1180mm fixed windows with 6mm thick tempered glass on powder coated aluminum frame complete with gaskets and sealants; and sliding glass door (opening dimensions of 1750mm x 2120mm) panel using 6mm thick tempered glass on powder coated aluminum frame complete gaskets and sealants, with insect screen as per manufacturer's standards. Provide built-in sliding door lock as per manufacturer's standards. Submit swatches for powder coating and aluminum frame section for approval. |  | 1 | set | [5 empty] | 15% | 10% | 25%
5.6 | Supply, delivery and installation of combination of 600mmW x 400mmH awning glass window using 3mm thick tempered glass with powder coated aluminum frame complete with necessary gaskets, sealants and hardware as per manufacturer's standards. Submit swatches for powder coating and aluminum frame section and hardware for approval. |  | 4 | sets | [5 empty] | 15% | 10% | 25%
5.7 | Supply, delivery and installation of combination of 600mmW x 400mmH awning glass window using 6mm thick tempered glass with powder coated aluminum frame complete with necessary gaskets, sealants and hardware as per manufacturer's standards. Submit swatches for powder coating and aluminum frame section and hardware for approval. |  | 2 | sets | [5 empty] | 15% | 10% | 25%
5.8 | Others | [8 empty] | 15% | 10%
| SUBTOTAL COST: | [8 empty] | 15% | 10%
VI. | FINISHES
6.1 | Supply, delivery and construction of drywall using 9mm thick fiber cement board with 0.5mm x 75mm metal stud and tracks framing spaced every 400mm on center both ways complete with necessary accessories such as aluminum corner beads, rivets, etc. |  | 53 | sq.m. | [5 empty] | 15% | 10% | 25%
6.2 | Supply, delivery and construction of ceiling using 9mm thick gypsum board with 0.5mm x 19mm x 50mm double furring channel spaced every 600mm on center, both ways complete with necessary fasteners and accessories as per manufacturer's standards. Contractor to provide 12mm x 12mm Z bead shadow line moulding at wall and ceiling perimeter. |  | 72.8 | sq.m. | [5 empty] | 15% | 10% | 25%
6.3 | Existing interior wall surfaces and drywall surfaces subject for surface preparation and painting using odorless latex paint as per manufacturer's standards. Submit paint swatches for approval. |  | 205.76 | sq.m. | [5 empty] | 15% | 10% | 25%
6.4 | Ceiling surfaces subject for surface preparation and painting using odorless flat latex paint as per manufacturer's standards. Submit paint swatches for approval. |  | 72.8 | sq.m. | [5 empty] | 15% | 10% | 25%
6.5 | Exterior wall surfaces subject for surface preparation and painting using elastomeric painting as per manufacturer's standards. |  | 24 | sq.m. | [5 empty] | 15% | 10% | 25%
6.6 | Supply, delivery and installation of 400mm x 400mm non-skid ceramic floor tiles complete with tile adhesive and anti-bacterial grout. Contractor to present swatches for approval. |  | 67 | sq.m. | [5 empty] | 15% | 10% | 25%
6.7 | Supply, delivery and installation of 300mm x 300mm non-skid ceramic floor tiles complete with tile adhesive and anti-bacterial grout for toilet and bath. Contractor to present swatches for approval. |  | 6.2 | sq.m. | [5 empty] | 15% | 10% | 25%
6.8 | Supply, delivery and installation of 300mm x 300mm glazed ceramic wall tiles complete with tile adhesive and anti-bacterial grout for toilet and bath. Contractor to present swatches for approval. |  | 13.1 | sq.m. | [5 empty] | 15% | 10% | 25%
6.9 | Supply, delivery and installation of 10mm x 10mm square section PVC tile trim |  | 14.6 | l.m. | [5 empty] | 15% | 10% | 25%
6.10 | Supply, delivery and installation of 300mm x 300mm glazed ceramic wall tiles complete with tile adhesive and anti-bacterial grout for kitchen splash board. Contractor to present swatches for approval. |  | 1.2 | sq.m. | [5 empty] | 15% | 10% | 25%
6.11 | Others
SUBTOTAL COST:
VII. | SPECIALTIES
7.1 | Supply, delivery and installation of kitchen base cabinet and shelves using 18mm thick melamine white stipple laminated faces on marine plywood substrate for carcass and doors using 18mm thick melamine wood grain laminate for exterior face and melamine white stipple interior face on marine plywood substrate complete with open shelvings using 18mm thick melamine wood grain laminated faces on marine plywood substrate. Provide 6mm thick melamine white stipple laminate on one face on marine plywood substrate. All exposed edges to be provided with 1mm thick x 22mm PVC edgeband. All laminates and edgebands shall be machine applied. Provide ABS plastic plinth foot, 3 sets concealed stainless steel 304 per door leaf, continuous aluminum handle and shelf support. Contractor to submit swatches and hardware samples for approval. Provide 18mm thick melamine white stipple laminated on one face marine plywood for granite countertop substrate with laminated face exposed at cabinet interior. |  | 1 | set | [5 empty] | 15% | 10% | 25%
7.2 | Others
SUBTOTAL COST:
VIII. | SPECIAL CONSTRUCTION
8.1 | Supply, delivery and installation of brass pendent type sprinkler head complete with escucheon and necessary accessories as per manufacturer's standards. |  | 9 | set | [5 empty] | 15% | 10% | 25%
8.2 | Supply and installation of Black Iron Pipes, Schedule 40,or approved equal, including fittings, painting, sleeves, supports, hangers and other miscellaneous items as shown and as required to complete the system
8.2.1 | 50mm diameter |  | 9 | l.m. | [5 empty] | 15% | 10% | 25%
8.2.2 | 25mm diameter |  | 19.5 | l.m. | [5 empty] | 15% | 10% | 25%
8.3 | Others
SUBTOTAL COST:
IX. | MECHANICAL
SANITARY AND PLUMBING
9.1 | Sanitary line Installation. Installation of Polyvinyl Chloride (PVC) pipes, Series 1000 II or approved equal, including fittings, painting, sleeves, supports, hangers and other miscellaneous items as shown and as required to complete the system
9.1.1 | 50mm diameter |  | 25 | l.m. | [5 empty] | 15% | 10% | 25%
9.1.2 | 75mm diameter |  | 25 | l.m. | [5 empty] | 15% | 10% | 25%
9.1.3 | 100mm diameter |  | 25 | l.m. | [5 empty] | 15% | 10% | 25%
9.1.4 | Supply, delivery and installation of 100mm diameter wall cleanout for lavatory drain tapping point. |  | 1 | set | [5 empty] | 15% | 10% | 25%
9.1.5 | Supply, delivery and installation of 50mm diameter wall cleanout for lavatory drain tapping point. |  | 1 | set | [5 empty] | 15% | 10% | 25%
9.2 | Vent line Installation. Installation of Polyvinyl Chloride (PVC) pipes, Series 1000 II or approved equal, including fittings, painting, sleeves, supports, hangers and other miscellaneous items as shown and as required to complete the system
9.2.1 | 50mm diameter |  | 6 | l.m. | [5 empty] | 15% | 10% | 25%
9.3 | Supply, delivery and installation of stainless steel 304 grease trap 4GPM compelte with necessary strainers and accessories. |  | 1 | set | [5 empty] | 15% | 10% | 25%
9.4 | Cold water supply (roughing-in). Installation of High Density Polypropylene Random Copolymer (PPR) pipes, Class PN-20 including fittings, painting, sleeves, support, hangers, and other miscellaneous items as shown and as required to complete the system.
9.4.1 | 32mm diameter |  | 3 | l.m. | [5 empty] | 15% | 10% | 25%
9.4.2 | 20mm diameter |  | 15 | l.m. | [5 empty] | 15% | 10% | 25%
9.4.3 | 32mm diameter gate valve |  | 2 | sets | [5 empty] | 15% | 10% | 25%
9.5 | Toilet and bath fixtures (Supply, delivery and installation) | [8 empty] | 15% | 10%
9.5.1 | 364mm x 743mm x 764mm. Top flush/ dual flush for 3/6L water closet complete with soft-close and anti-bacterial seat cover. Contractor to provide angle valve, wax flange, flexible hose and fixation set. |  | 1 | set | [5 empty] | 15% | 10% | 25%
9.5.2 | Wall hung porcelain lavatory basin 560 x 475mm with nano coating with half pedestal, complete with necessary accessories and p traps as per manufacturer's standards |  | 1 | set | [5 empty] | 15% | 10% | 25%
9.5.3 | Brass wall mounted tap with hose connector for shower complete with escucheon and accessories as per manufacturer's standards. |  | 1 | set | [5 empty] | 15% | 10% | 25%
9.5.4 | Stainless steel faucet pillar with brass fittings complete with flexible hose and accessories as per manufacturer's standards. |  | 1 | set | [5 empty] | 15% | 10% | 25%
9.5.5 | Stainless steel shower bidet with brass fittings complete with flexible hose, holder and accessories as per manufacturer's standards. |  | 1 | set | [5 empty] | 15% | 10% | 25%
9.5.6 | Stainless steel floor drain with strainer complete with insect proofing (100mm x 100mm) |  | 2 | sets | [5 empty] | 15% | 10% | 25%
9.6 | Kitchen fixtures (Supply, delivery and installation) | [8 empty] | 15% | 10%
9.6.1 | 920mm x 430mm x 150mmD bright satin stainless steel 304 kitchen sink with wash tray complete with p traps, drains and accessories as per manufacturer's standards. |  | 1 | set | [5 empty] | 15% | 10% | 25%
9.6.2 | Stainless steel kitchen faucet cold water line only complete with flexible hose and accessories. |  | 1 | set | [5 empty] | 15% | 10% | 25%
MECHANICAL
9.7 | Toilet exhaust fan
9.7.1 | 300mm x 300mm ceiling exhaust fan complete with plastic diffuser grilles with exhaust flap. 230V 60Hz 26W 8.2 cu.m./ minute 48dB |  | 2 | sets | [5 empty] | 15% | 10% | 25%
9.7.2 | 300mm x 300mm ceiling exhaust air vent complete with plastic diffuser grille cover with insect screen. |  | 1 | set | [5 empty] | 15% | 10% | 25%
9.7.3 | Exhaust vent line. Installation of 75mm diameter Polyvinyl Chloride (PVC) pipes, Series 1000 II or approved equal, including fittings, painting, sleeves, supports, hangers and other miscellaneous items as shown and as required to complete the system |  | 6 | l.m. | [5 empty] | 15% | 10% | 25%
9.8 | Others
SUBTOTAL COST:
X. | ELECTRICAL
10.1 | Wires, conduits and roughing-ins
10.1.1 | Panel board - 10 - 2 pole bolt on |  | 1 | set | [5 empty] | 15% | 10% | 25%
10.1.2 | Main CB 90AT, 100AF, 1P, 230V |  | 1 | set | [5 empty] | 15% | 10% | 25%
10.1.3 | 30 AT Circuit Breaker |  | 6 | set | [5 empty] | 15% | 10% | 25%
10.1.4 | 20 AT Circuit Breaker |  | 4 | set | [5 empty] | 15% | 10% | 25%
10.1.5 | 15mm diameter EMT pipe |  | 36 | lengths | [5 empty] | 15% | 10% | 25%
10.1.6 | 32mm diameter EMT pipe |  | 4 | lengths | [5 empty] | 15% | 10% | 25%
10.1.7 | 32mmØ EMT Coupling |  | 10 | pcs | [5 empty] | 15% | 10% | 25%
10.1.8 | 32mmØ EMT Connector |  | 10 | pcs | [5 empty] | 15% | 10% | 25%
10.1.9 | 15mm diameter flexible metal conduit |  | 28.2 | l.m. | [5 empty] | 15% | 10% | 25%
10.1.10 | 15mmØ EMT Coupling |  | 100 | pcs | [5 empty] | 15% | 10% | 25%
10.1.11 | 15mmØ EMT Connector |  | 80 | pcs | [5 empty] | 15% | 10% | 25%
10.1.12 | 15mmØ Flexible Metal Adaptor & Locknut |  | 120 | pcs | [5 empty] | 15% | 10% | 25%
10.1.13 | 4" x 4" x 2" Octagonal Box, Gauge 16, Zinc-Chromate with Cover |  | 47 | sets | [5 empty] | 15% | 10% | 25%
10.1.14 | 2" x 4" Utility Box, Gauge 16, Zinc-Chromate |  | 28 | sets | [5 empty] | 15% | 10% | 25%
10.1.15 | 22mm² THHN Wire |  | 30 | l.m. | [5 empty] | 15% | 10% | 25%
10.1.16 | 5.5mm² THHN Wire |  | 100 | l.m. | [5 empty] | 15% | 10% | 25%
10.1.17 | 3.5mm² THHN Wire |  | 450 | l.m. | [5 empty] | 15% | 10% | 25%
10.1.18 | Electrical tape |  | 20 | rolls | [5 empty] | 15% | 10% | 25%
10.1.19 | Telephone cable |  | 10 | l.m. | [5 empty] | 15% | 10% | 25%
10.2 | Fixtures and plates | [8 empty] | 15% | 10%
10.2.1 | 9W LED daylight slim type downlight lighting fixture panel |  | 27 | sets | [5 empty] | 15% | 10% | 25%
10.2.2 | 6W LED warm white slim type downlight lighting fixture panel |  | 14 | sets | [5 empty] | 15% | 10% | 25%
10.2.3 | 2 gang wide series single-way switch with cover |  | 5 | sets | [5 empty] | 15% | 10% | 25%
10.2.4 | 1 gang wide series single-way switch with cover |  | 4 | sets | [5 empty] | 15% | 10% | 25%
10.2.5 | Duplex Convenience Outlet |  | 14 | sets | [5 empty] | 15% | 10% | 25%
10.2.6 | Single Convenience Outlet |  | 3 | sets | [5 empty] | 15% | 10% | 25%
10.2.7 | Weather proof duplex outlet |  | 1 | sets | [5 empty] | 15% | 10% | 25%
10.2.8 | Telephone outlet |  | 1 | sets | [5 empty] | 15% | 10% | 25%
10.2.9 | Tandem Outlet for Special Purpose Usage |  | 6 | sets | [5 empty] | 15% | 10% | 25%
10.2.10 | Heavy duty emergency light fixture |  | 3 | sets | [5 empty] | 15% | 10% | 25%
SUBTOTAL COST:
GRAND TOTAL COST:
NOTE:
1 | All utility systems are subject for testing such as meger testing for electrical system, pressure test for water lines, leak test for water lines, flood testing for waterproofed areas, etc.
2 | All test to be done on the site shall be care of the contractor. The contractor shall issue a notice to the owner or designer to witness testing and shall issue a certificate of completion for every tests.
3 | All materials and equipment manuals are to be compiled and turnovered to the end user upon project completion.
4 | The contractor shall coordinate with the building administration to verify guidelines and considerations pertaining to the renovation project.
5 | Upon closing of walls and ceilings, the contractor shall inform the client or the designer to inspect all utilities to be hidden within the said cavities.
Submitted by:

## PMO 18N FF Bid Form
Privatization and Management Office
PROJECT TITLE : | LT300 Unit 18N Condominium Unit Renovation
PROJECT LOCATION : | Unit 18N, Legaspi Tower 300, 2600 Ocampo St., Malate, Manila, 1004 Metro Manila
SUBJECT : | Furniture and Fixtures Bid Form
CONTRACTOR :
DATE:
ITEM | IMAGE REFERENCE | DESCRIPTION | QTY. | UNIT | UNIT COST | ESTIMATED DIRECT COST | MARK-UPS IN PERCENT |  | TOTAL MARK-UPS |  | VAT | TOTAL INDIRECT COST | TOTAL COST | UNIT COST
NO. | [6 empty] | OCM | PROFIT | % | VALUE
I. | DORMITORY ROOM
1.1 |  | Mandauefoam Rylan Double Deck Metal Bed | 3 | sets |  |  | 12% | 12% | 24%
Overall dimensions: L199.5 x W99 x H159cm
Mattress Size: 36" x 75"
Headboard and footboard: 50mm dia. round metal tube post with 25mm and 16mm diameter round metal tube in black powder coated finish frames and supports.
Side Rail: 25mm x 50mm x 1.0mm thick rectangular metal tube black powder coated finish.
Bed Base: 25mm x 25mm x 1.0mm thick rectangular metal tube mesh frame with 3.8mm diameter solid wire mesh in black powder coated finish.
Net weight: 36.6 kgs
1.2 |  | Mandauefoam Flex Foam Mattress | 6 | pcs |  |  | 12% | 12% | 24%
Overall Dimensions: Single 3" x 36" x 75"
Polyurethane foam with a density of 31 kg/cu.m.
Comes with 80 gsm brushed poly cotton cover with flex foam print
10 year warranty against sagging and production defects
1.3 |  | Mandauefoam Sydney 1 Door Dresser | 6 | pcs |  |  | 12% | 12% | 24%
Overall Dimensions: W48 x D47 x H180cm
Color: Walnut (7007-11)
15mm thick particle board laminated with amino paper veneer with 3mm thick MDF back board and 16 inches metal drawer guide
19mm diameter steel tube hanger rod in powder coated finish
128mm plastic handle
Net weight: 36.5 kgs
1.4 |  | Mandauefoam Genna Nightstand | 3 | pcs |  |  | 12% | 12% | 24%
Overall dimensions: W39.5 x D32 x H50cm
Color: Walnut with Black powder coated metal
15mm thick E2 grade particle board laminated with paper veneer with 3mm thick MDF backboard
Metal mesh door in 20x10mm hole size and 20 x 20 x 0.7mm thick metal leg in powder coated finish
Net weight: 9 kgs
1.5 |  | Mandauefoam Samar Desk - Dark Walnut | 3 | pcs |  |  | 12% | 12% | 24%
Overall dimensions: W74 x D48 x H146.5cm
Desktop height: 76cm
Color: Shelf panels - Dark walnut (6515) and metal members - powder coated black
15mm thick particle board laminated with PVC vinyl shelf panels.
30 x 20 x 0.6mm thick rectangular metal tube in powder coated finish frames
Normal drawer side mechanism
Net weight: 17 kgs
1.6 |  | Mandauefoam Colt Chair | 3 | pcs |  |  | 12% | 12% | 24%
Overall dimension: W46.5 x D50.5 x H83cm
Seat Height: 44cm
Material:
Plastic: White (90290) or Black (3010)
Wood: Natural
Polyprophelene (Pp) plastic seat and backrest in injection molding process
45mm diameter tapered beechwood legs in natural finish with 10mm diameter solid iron leg support in powder coated finish.
Net weight: 3.7 kgs
II. | LIVING AND DINING AREA
2.1 |  | Mandauefoam Ghost 6-8 Extension Table | 1 | pc |  |  | 12% | 12% | 24%
Overall dimensions: Close - W150 x D90 x H75cm
Overall dimensions: Open - W195 x D90 x H75cm
Walnut
18mm thick E2 grade MDF board laminated with walnut veneer
60 x 60 x 730mm solid rubber wood leg in AC lacquered finish
Net weight: 43 kgs
2.2 |  | Mandauefoam Britta Chair | 7 | sets |  |  | 12% | 12% | 24%
Overall dimensions: 36.5cm W x 40cm D x 91cm H
Seat Height: 46.8cm
Wood: Walnut
Fabric: Light Grey
52mm thick new foam covered with polyester fabric seat and AC rubberwood frame and legs
Net weight: 10.4 kgs
1.1 |  | Mandauefoam Aramis Shoe Cabinet - PA14 Brown | 1 | set |  |  | 12% | 12% | 24%
Overall dimensions: W68 x D32 x H100cm
Color: Brown (PA14)
Carcass: 16mm thick particle board laminated with paper veneer
Door: 16mm x 50mm MDF board as frame with 5mm thick slats décor laminated with paper veneer
Handle: 96mm x 12mm PVC plastic
Net weight: 22 kgs
III. | EXECUTIVE ROOM
3.1 |  | Mandauefoam Bronx Semi-double bed 48 x 75 | 1 | sets |  |  | 12% | 12% | 24%
Overall size: 1275mmW x 1965mmD x 815mmH
Mattress Size: 48" x 75"
Color: Dark Capuccino
Primary Material: Rubberwood and MDF with Veneer
3.2 |  | Mandauefoam Flex Foam Mattress | 1 | pcs |  |  | 12% | 12% | 24%
Overall Dimensions: Single 6" x 48" x 75"
Polyurethane foam with a density of 31 kg/cu.m.
Comes with 80 gsm brushed poly cotton cover with flex foam print
10 year warranty against sagging and production defects
3.3 |  | Mandauefoam Farid Office Desk | 1 | pc |  |  | 12% | 12% | 24%
Overall dimensions: W100 x D48 x H75cm
Panels: Walnut (G188) and Black Combination
Metal frame: Black
15mm thick particle board laminated with melamine, desktop and storage panels
Full extension drawer slide mechanism
20 x 20 x 0.8mm thick square metal tube in powder coating finish frames
Net weight: 18.2 kgs
3.4 |  | Mandauefoam Noah Chair | 1 | pc |  |  | 12% | 12% | 24%
Overall dimension: W48.5 x D53.5 x H83cm
Seat Height: 45.5cm
Material:
Plastic and seat cushion: Light grey
Wood: Natural
Polyprophelene (Pp) plastic seat and backrest in injection molding process
25mm newfoam covered with PU faux leather fabric fixed seat cushion
38 x 60mm tapered beechwood leg in natural finish
Net weight: 4.7 kgs
3.5 |  | Mandauefoam Selene 6 Chest of Drawer | 1 | pc |  |  | 12% | 12% | 24%
Overall dimension: W119cm x D40cm x H77cm
Color: Light Wenge (VC-1C046)
Material:
15mm thick particle board laminated with amino paper veneer with 3mm thick MDF back board and 14 inches metal drawer guide
39 kgs.
Assembly required
3.6 |  | Mandauefoam Callaway 2 Door Wardrobe | 1 | pc |  |  | 12% | 12% | 24%
Overall dimension: W80cm x D47cm x H190cm
Color: Light Wenge (VC-1C046)
Material:
15mm thick particle board laminated with amino paper veneer with 3mm thick MDF back board and 16 inches metal drawer guide and 1 piece normal lock
790 x 290mm normal mirror
19mm diameter steel tube hanger rod in powder coated finish
128mm plastic handle
62 kgs.
Assembly required
IV. | KITCHEN
4.1 |  |  | 1 | pc |  |  | 12% | 12% | 24%
Mandauefoam Cabello Hanging Cabinet 90 cm
Overall dimensions: W900mm x D330mm x H720mm
Panels: Euro Oak
Melamine laminated board with Medium Density Fiber Board
V. | TOILET AND BATH
5.1 |  |  | 1 | pc |  |  | 12% | 12% | 24%
Mandauefoam 4327-AA-WI 55x70cm White Frame
PS Frame,2mm flat mirror, MDF board backing, hangers,
corner protectors, shrinking wrap, master carton
5.2 |  |  | 1 | pc |  |  | 12% | 12% | 24%
Stainless steel towel rack with extra bar
or equivalent
SUS 304
5.3 |  |  | 1 | pc |  |  | 12% | 12% | 24%
Stainless steel tissue roll holder wall mounted
or equivalent
SUS 304
VI. | OTHERS
6.1 |  | Korean combination blinds (clear and blackout) | 65 | sq.ft. |  |  | 12% | 12% | 24%
100% polyester material
complete with necessary hardware and accessories
with 1 month warranty
TOTAL COST:
NOTES:
1 | The above mentioned costing are inclusive of delivery cost from shop or warehouse to project site.
2 | The above mentioned costing are inclusive of assembly and labor cost at site.
3 | All furniture are to be turnovered and subject to inspection prior to acceptance; in the event of damages and unacceptable quality, the owner has the right to demand a replacement for the said furniture and fixtures.
Submitted by:
Submitted by:

## PMO 18N EA Bid Form
Privatization and Management Office
PROJECT TITLE : | LT300 Unit 18N Condominium Unit Renovation
PROJECT LOCATION : | Unit 18N, Legaspi Tower 300, 2600 Ocampo St., Malate, Manila, 1004 Metro Manila
SUBJECT : | Equipment and Appliances Bid Form
CONTRACTOR :
DATE:
ITEM | IMAGE REFERENCE | DESCRIPTION | QTY. | UNIT | UNIT COST | ESTIMATED DIRECT COST | MARK-UPS IN PERCENT |  | TOTAL MARK-UPS |  | VAT | TOTAL INDIRECT COST | TOTAL COST | UNIT COST
NO. | [6 empty] | OCM | PROFIT | % | VALUE
I. | DORMITORY ROOM
1.1 |  | Samsung AR18TYHYEWKNTC | 1 | set |  |  | 12% | 12% | 24%
2.0 hp Basic Inverter Wall Mounted Split-type
AR5500T Basic Inverter
S-Inverter
Digital Inverter Boost
Fast Cooling Mode
Triple protector plus
Durafin tm
Quiet mode
Single user mode
R32 Refrigerant
1 year warranty on parts and labor, 10 years on comp.
1.2 |  | Split-type installation and piping works | 1 | set |  |  | 12% | 12% | 24%
Inclusive of wires, pipes, insulations and other material requirements and consumables.
Installation of outdoor unit complete with steel brackets as per manufacturer's standards.
1 year warranty on labor and instalaltion
II. | LIVING AND DINING AREA
2.1 |  | Samsung UA32N4300 | 1 | set |  |  | 12% | 12% | 24%
32 inch, HD Ready, Smart TV
46.54cmH x 73.74cmL x 15.05cmW
LED Display Panel
Connect share movie
Clean view, Game mode basic
Digital TV ISDB-T
Motion Rate: 60
1 year warranty
2.2 |  | Perfect View NB SP500/ P5 | 1 | sets |  |  | 12% | 12% | 24%
Full motion wall mounted screen bracket
6 swing arms
III. | KITCHEN EQUIPMENT AND APPLIANCES
3.1 |  |  | 1 | sets |  |  | 12% | 12% | 24%
Sharp SJ-VL70BP-SL
6.6 cu.ft. two door inverter type refrigerator and freezer, manual defrost
Slim design
Durable wire shelves
LED lamp
Deep freezer
Uses R-600a refrigerant
3.2 |  | Hamden AD-PFS302X-E 30cm 2 Electric Hot | 1 | set |  |  | 12% | 12% | 24%
Plate Stainless Steel Hobs
Built-in stainless steel
Hot plate 1 - 2.0kW
Hote plate 2 - 1.5kW
3.3 |  | Hamden AD-HSM101 (A-600mm) 60cm | 1 | set |  |  | 12% | 12% | 24%
Rangehood 1 motor
Wall mounted
Stainless Steel Finish
With filter screen
3.4 |  | Whirlpool MWX 201 XEB | 1 | pc |  |  | 12% | 12% | 24%
20 Liters, Microwave oven
27.9cmH x 31.8cmL x 45.7cmW
Mechanical control
Variable cooking levels
Defrost function
3.5 |  | Kyowa KW 1226 | 1 | pc |  |  | 12% | 12% | 24%
10 cups, coffee maker
10 cups/ 1.2L capacity
900 watts
230 volts
Anti-drip functions
Long life permanent filter
Heat resistant glass carafe
Removable accessories for easy cleaning
1 year limited warranty on parts, lifetime on labor
and service
3.6 |  |  | 1 | pc |  |  | 12% | 12% | 24%
Kyowa KW-1500
Hot and cold water dispenser
550 watts
Temperature selection
Anti-slip faucet handles
3.7 |  | Independent fire heat alarm & security horn
12VDC Heat alarm features
Flash alarm indicator (Red) - self-test function - low
battery signal and safety clip feature
High stability and reliability - Loud 85dB alarm signal
12V power source; relative humidity - 10%~95%
Operating Current: <100uA (Standby) and 10-15mA
(Alarm working)
Horn level: 95dB within 1 meter
IV. | EXECUTIVE ROOM
4.1 |  | Samsung AR12TYHYEWKNTC | 1 | set |  |  | 12% | 12% | 24%
1.5 hp Basic Inverter Wall Mounted Split-type
AR5500T Basic Inverter
S-Inverter
Digital Inverter Boost
Fast Cooling Mode
Triple protector plus
Durafin tm
Quiet mode
Single user mode
R32 Refrigerant
1 year warranty on parts and labor, 10 years on comp.
4.2 |  | Split-type installation and piping works | 1 | set |  |  | 12% | 12% | 24%
Inclusive of wires, pipes, insulations and other material requirements and consumables.
Installation of outdoor unit complete with steel brackets as per manufacturer's standards.
1 year warranty on labor and instalaltion
4.3 |  | Samsung UA32N4300 | 1 | set |  |  | 12% | 12% | 24%
32 inch, HD Ready, Smart TV
46.54cmH x 73.74cmL x 15.05cmW
LED Display Panel
Connect share movie
Clean view, Game mode basic
Digital TV ISDB-T
Motion Rate: 60
1 year warranty
V. | BATHROOM
5.1 |  | Panasonic DH3HS2P | 1 | set |  |  | 12% | 12% | 24%
Single point water heater with shower head
3.5kW
Power control
3-way Anti-bacterial shower plate
Single water mesh filter for easy maintenance
Built-in ELCB
Thermal cut-out water sensor
Flow valve sensor heater automatically switches "off"
when there's no water supply
1 year warranty
VI. | GENERAL
6.1 |  |  | 5 | sets |  |  | 12% | 12% | 24%
Panasonic SH28453911
Noise level at 87dB at a distance of 1m
Noise level at 84dB at a distance of 40m
Battery life up to 10 years, 3V Lithium
Sends an automatic alarm every 40 seconds when the
battery is low
TOTAL COST:
NOTES:
1 | The above mentioned costing are inclusive of delivery cost from shop or warehouse to project site.
2 | The above mentioned costing are inclusive of assembly and labor cost at site.
3 | All equipment and appliances are to be turnovered and subject to inspection prior to acceptance; in the event of damages and unacceptable quality, the owner has the right to demand a replacement for the said units.
4 | The contractor shall turnover any warranty certificate and manual for the delivered equipment and appliances to the end user.
Submitted by: